# Best Management Practice Inspection Job Aid: Stream and Clear Water Diversion

This job aid is a tool to assist with the completion of Form 2118. All required corrective actions, comments, or discussions must be documented on Form 2118.

Review each criterion below. For each item, check the box or mark an “X” next to the appropriate response to indicate the compliance status: Yes (Y), No (N), or Not Applicable (NA) to indicate the compliance status.

Yes – The requirement has been met.

No – The requirement has not been met.

Not Applicable – The requirement does not apply to this project or site conditions.

## Installation criteria

- Have stream and clear water diversions been included in the

- Storm Water Pollution Prevention Plan (SWP3) Layout Sheets?	☐Y   ☐N   ☐NA

- Are stream and clear water diversions installed in accordance

- with the SWP3 Layout Sheets?	☐Y   ☐N   ☐NA

- Are stream and clear water diversions in place prior to

- construction within the stream?	☐Y   ☐N   ☐NA

- Have all required permits been acquired?	☐Y   ☐N   ☐NA

- Have diversion and isolation measures been designed in

- accordance with Best Management Practices (BMPs) (for example,

- Slope and Streambank Stabilization, Runoff Interception and

- Diversion, Dewatering Operations, etcetera)?	☐Y   ☐N   ☐NA

- Is there sufficient stream flow to require diversion or isolation

- measures?	☐Y   ☐N   ☐NA

- Is the stream flow completely dammed by the diversion or

- isolation measure?	☐Y   ☐N   ☐NA

- Has stream bank stabilization been implemented?	☐Y   ☐N   ☐NA

## Inspection criteria

- Are stream and clear water diversions BMPs functioning properly

- (diverting water, isolating construction activities, etcetera)?	☐Y   ☐N   ☐NA

- Is there any visible erosion on the streambanks associated

- with construction activities?	☐Y   ☐N   ☐NA

- Is excess turbidity visible in the stream?	☐Y   ☐N   ☐NA

- Is water quality being monitored during in-water work?	☐Y   ☐N   ☐NA

- Is a floating turbidity barrier being utilized downstream?	☐Y   ☐N   ☐NA

- Are embankments stable and functioning properly?	☐Y   ☐N   ☐NA

- Were any concerns identified with stream and clear water

- diversion BMPs?	☐Y   ☐N   ☐NA

- Were maintenance requirements recommended to the contractor?	☐Y   ☐N   ☐NA

## Maintenance criteria

- Are all stream and clear water diversion measures in good

- working condition?	☐Y   ☐N   ☐NA

- Have streambank stabilization measures been repaired?	☐Y   ☐N   ☐NA

- Have repairs been made to the stream and clear water

- diversion system to prevent stream erosion and turbidity levels?	☐Y   ☐N   ☐NA

- Are pumps in good working condition with no visible leaks?	☐Y   ☐N   ☐NA

- Did the contractor address all recommended maintenance needs?	☐Y   ☐N   ☐NA

- Were any additional BMPs recommended to the Contractor

- (for example, Soil stabilization, streambank stabilization,

- sediment controls, etcetera)?	☐Y   ☐N   ☐NA

Comments and Notes

[Enter comments and notes]

## Reference

Texas Department of Transportation (TxDOT) Temporary Erosion, Sediment and Water Pollution Control Measures: Swales EC (5) -16 and Dikes EC (4) - 16